## Bus Report
Bus ID | Equipment Name | Nom kV | Equipment Type | Gap | X Factor | Grounding Type based on IEEE 1584 | Limited Approach Boundary to Exp. Mov. Conductor (m) | Limited Approach Boundary to Fixed Part (m) | Restricted Approach Boundary (m) | Available PPE Protection (cal/cm^2) | Total Bus Bolted (kA) | Total Bus Arcing (kA) | Source PD Bolted (kA) | Source PD Arcing (kA) | Source Trip Device ID | Source Trip Relay ID | Source Trip Relay Type | Trip Time (Cyc) | Open Time (Cyc) | Total FCT (Cyc) | AFB (m) | Incident Energy (cal/cm^2) | Working Distance (cm) | Energy Level | PPE Description | Insulated Glove V-rating (VAC) | Insulated Glove Class
Bus GI-20kV |  | 20 | Other |  | 0 | Grounded | 3.048 | 1.8288 | 0.8382 | 0 | 2.483 | 2.483 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 45.72 |  |  | 26500 | 3
Bus GI 150kV |  | 150 | Other |  | 0 | Grounded | 3.554 | 3.554 | 1.2954 | 0 | 0.381 | 0.381 | 0 | 0 |  |  |  | 0 | 0 | 0 | 0 | 0 | 121.9201 |  |  | 150000

## PD Report
PD ID | Equipment Name | Connected Bus ID | PD Type | Limited Approach Boundary to Exp. Mov. Conductor (m) | Limited Approach Boundary to Fixed Part (m) | Restricted Approach Boundary (m) | PD Bolted (kA) | PD Arcing (kA) | PD FCT (Cyc) | Arcing kA for Incident Energy | Upstream Source PD | Source PD Relay ID | Source PD Relay Type | Upstream Source PD FCT (Cyc) | AFB (m) | Incident Energy (cal/cm^2) | Working Distance (cm) | Energy Level | PPE Description | Insulated Glove V-rating (VAC) | Insulated Glove Class
CB1 |  | Bus GI-20kV | HV CB | 3.048 | 1.8288 | 0.8382 | 1.389 | 1.389 |  | 0 |  |  |  |  | 0 | 0 | 45.72 |  |  | 26500 | 3