## SQOP Report
Fault Location ID | Source PD ID | Arcing Current (kA) | Open Time (sec) | Trip Time (sec) | Final FCT (sec) | Condition
Bus GI-20kV | CB1 | 1.389 | 0 | 0 | -1 | FCT Not Determined
Bus GI-20kV |  | 0 | 0 | 0 | 0 | Arc Fault not de-energized
CB1 |  | 0 | 0 | 0 | 0 | Arc Fault not de-energized
Bus GI 150kV |  | 0 | 0 | 0 | 0 | Arc Fault not de-energized